|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project # | Queue Date | In Service Date | Transmission Owner | County | State | POI Name | Summer MW |
| J1016 | 3/12/2018 | 9/1/2021 | Vectren | Gibson County | IN | Francisco - Toyota Z75 138kV Line Tap | 50 |
| J1027 | 3/12/2018 | 1/2/2021 | HE | Pike County | IN | Ratts 161 kV Substation | 150 |
| J1028 | 3/12/2018 | 1/2/2021 | HE | Pike County | IN | Ratts - Victory 161 kV Line Tap | 150 |
| J1058 | 3/12/2018 | 10/31/2021 | NIPSCO | Lake County | IN | Schahfer-St. John 345kV Line Tap | 300 |
| J1063 | 3/12/2018 | 10/31/2021 | Duke | Clinton County | IN | New London - Frankfort 230kV Line Tap | 300 |
| J1067 | 3/12/2018 | 9/1/2022 | NIPSCO | Jasper County,Pulaski County | IN | Reynolds - Burr Oak 345kV Line | 240 |
| J1074 | 3/12/2018 | 1/2/2021 | Vectren | Gibson County | IN | Francisco 138 kV sub | 200 |
| J1112 | 3/12/2018 | 9/15/2021 | NIPSCO | Kosciusko County | IN | Leesburg 138kV Substation | 150 |
| J1152 | 3/12/2018 | 4/1/2021 | IPL | Hancock County,Shelby County | IN | Gwynneville - Sunnyside 345 kV Line Tap | 200 |
| J1227 | 4/27/2019 | 9/29/2023 | Vectren | Spencer County | IN | Dubois - FB Culley 138 kV Line Tap | 125 |
| J1234 | 4/29/2019 | 10/31/2023 | Duke | Knox County | IN | Edwardsport - Washington Mun, Linton 138kV Line | 100 |
| J1235 | 4/29/2019 | 10/31/2023 | Duke | Knox County | IN | Edwardsport - Washington Mun, Linton 138kV Line | 50 |
| J1254 | 4/29/2019 | 10/31/2023 | Duke | Knox County | IN | Merom - Gibson - Wheatland 345kV Line | 150 |
| J1265 | 4/29/2019 | 7/1/2022 | NIPSCO | LaGrange County | IN | Wolcottville - South Milford 69kV Line | 43 |
| J1269 | 4/29/2019 | 7/1/2022 | Vectren | Warrick County | IN | Elliott 69kV Substation | 100 |
| J1273 | 4/29/2019 | 9/29/2023 | NIPSCO | Marshall County,Starke County | IN | Burr Oak - East Winnamac 138 kV Line Tap | 100 |
| J1274 | 4/29/2019 | 7/1/2022 | Vectren | Posey County | IN | Point 69kV Substation | 100 |
| J1276 | 4/29/2019 | 7/1/2022 | Vectren | Posey County | IN | Point 69kV Substation | 100 |
| J1295 | 4/29/2019 | 12/1/2022 | Vectren | Gibson County | IN | Gibson - Francisco 345kV Line | 280 |
| J1296 | 4/29/2019 | 12/1/2022 | Vectren | Gibson County | IN | Francisco 138kV Substation | 200 |
| J1308 | 4/29/2019 | 12/1/2021 | Vectren | Posey County | IN | AB Brown - Gibson 345kV Line | 300 |
| J1332 | 4/29/2019 | 4/20/2022 | NIPSCO | Jasper County | IN | Schahfer 345kV Substation | 200 |
| J1333 | 4/29/2019 | 7/1/2022 | NIPSCO | Jasper County,Starke County | IN | Schahfer - Burr Oak 345kV Line | 199.5 |
| J1334 | 4/29/2019 | 7/1/2022 | NIPSCO | Jasper County,Starke County | IN | Schahfer - Burr Oak 345kV Line | 199.5 |
| J1335 | 4/29/2019 | 7/1/2022 | NIPSCO | Jasper County,Starke County | IN | Schahfer - Burr Oak 345kV Line | 199.5 |
| J1336 | 4/29/2019 | 7/1/2022 | NIPSCO | Jasper County,Starke County | IN | Schahfer - Burr Oak 345kV Line | 199.5 |
| J1339 | 4/29/2019 | 7/1/2022 | NIPSCO | Jasper County,Starke County | IN | Schahfer 345kV Substation | 199.5 |
| J1340 | 4/29/2019 | 7/1/2022 | NIPSCO | Jasper County,Starke County | IN | Schahfer 345kV Substation | 199.5 |
| J1348 | 4/29/2019 | 4/20/2022 | Duke | Vermillion County | IN | Cayuga - Sugar Creek 345kV Line | 200 |
| J1369 | 4/29/2019 | 7/1/2022 | Vectren | Dubois County | IN | Dubois 138 kV Substation | 100 |
| J1378 | 4/29/2019 | 10/1/2023 | Duke | Fountain County | IN | Veedersburg West 230 kV Substation | 200 |
| J1381 | 4/29/2019 | 10/1/2023 | Duke | Howard County | IN | Greentown 230 kV substation | 200 |
| J1385 | 4/29/2019 | 8/1/2022 | Duke | Hendricks County | IN | Stilesville 138 kV Substation | 100 |
| J1386 | 4/29/2019 | 7/1/2022 | NIPSCO | Lake County | IN | Green Acres 138 kV Substation | 100 |
| J1390 | 4/29/2019 | 8/1/2022 | Duke | Bartholomew County | IN | Gallagher Station - Columbus 230 kV Line Tap | 150 |
| J1391 | 4/29/2019 | 8/1/2022 | Vectren | Dubois County | IN | Duff 138 kV Substation | 100 |
| J1392 | 4/29/2019 | 10/30/2023 | NIPSCO | LaGrange County | IN | Lagrange 138 kV Substation | 200 |
| J1393 | 4/29/2019 | 10/30/2023 | Vectren | Pike County | IN | Cato 138 kV Substation | 200 |
| J1396 | 4/29/2019 | 12/1/2021 | HE | Pike County | IN | Ratts-Victory 161kV Line | 150 |
| J1398 | 4/29/2019 | 12/1/2022 | HE | Pike County | IN | Ratts 161kV Substation | 150 |
| J1405 | 4/29/2019 | 7/1/2022 | Duke | Greene County | IN | Sanborn - Linton 138 kV Line Tap | 140 |
| J1407 | 4/29/2019 | 8/1/2022 | NIPSCO | Porter County | IN | Starke - S. Valparaiso 138 kV Line Tap | 100 |
| J1412 | 4/29/2019 | 10/30/2023 | NIPSCO | Porter County | IN | Lake George - Schahfer GEN STA 345 kV Line Tap | 250 |
| J1419 | 4/29/2019 | 7/1/2022 | Duke | Greene County | IN | Edwardsport - Amo 345 kV Line Tap | 250 |
| J1447 | 4/29/2019 | 9/1/2022 | NIPSCO | Porter County | IN | Schahfer - Green Acres 345kV Line | 250 |
| J1457 | 4/29/2019 | 6/30/2022 | Duke | Vermillion County | IN | Sugar Creek - Cayuga 345 kV Line Tap | 200 |
| J1481 | 4/29/2019 | 8/15/2022 | Duke | Howard County | IN | Greentown 230 kV substation | 200 |
| J1482 | 4/29/2019 | 8/15/2022 | Duke | White County | IN | Monticello - Springboro 138 kV Line Tap | 150 |
| J783 | 11/14/2016 | 4/1/2021 | Vectren | Spencer County | IN | Grandview Sub | 70 |
| J805 | 6/16/2017 | 9/1/2019 | Duke | Shelby County | IN | Gwynneville 345kV Substation | 199 |
| J829 | 6/16/2017 | 9/30/2020 | Duke | Sullivan County | IN | Dresser - Merom 345kV Line | 250 |
| J847 | 6/16/2017 | 4/1/2020 | NIPSCO | Jasper County | IN | Schahfer Tap 138kV Substation | 90 |
| J856 | 6/16/2017 | 4/1/2021 | Vectren | Vanderburgh County | IN | Scott (TWP 138/69) 138 kV Substation | 80 |
| J903 | 6/16/2017 | 9/15/2020 | Duke | Henry County | IN | Greensboro 138 kV Substation | 100 |
| J913 | 6/16/2017 | 8/1/2020 | NIPSCO | White County | IN | Reynolds 345kV Substation | 200 |
| J992 | 3/12/2018 | 9/1/2021 | Duke | Cass County | IN | Walton 230kV Substation | 200 |
| J993 | 3/12/2018 | 9/1/2021 | IPL | Boone County | IN | Hortonville - Whitestown 345kV Line Tap | 200 |
|  |  |  |  |  |  |  | 9564 |